## HDFC
Sr No | ATM ID | ATM ID 2 | State | City | Loc. Name | Main Panel functional (Y/N) | DVR (W / NW) | Hard Disk status(W/NW) | Footage Start DateTime | Footage Stop DateTime | Footage available in days | ATM Lobby Camera (W/ NW) | Back Room Camera (W/ NW) | Out Side Camera (W/ NW) | All Sensors (W/ NW) | Panic Alarm Switch (W/NW) | Hooter (W/NW) | Two-way Communicaton (W/NW) | Smoke detector (w/NW) | Glass Break Sensor (W/NW) | Backroom Door Key pad (W/NW) | ATM Removal Sensor (W/NW) | Vibration Sensor(W/NW) | Hood Sensor | Chest door open sensor(W/NW) | ATM Thermal Sensor(W/NW) | PIR Sensor(Pet Immune)(W/NW) | Speaker Mic Removal Sensor(W/NW) | AC removal (W/NW) | Lobby temperature sensor | EM Lock(W/NW) | Ageing | Site Live Date | 120 Days footage not available Remarks | Vendor | Bank

## IDFC
Sr No | ATM ID | ATM ID 2 | State | City | Loc. Name | Main Panel functional (Y/N) | DVR (W / NW) | Hard Disk status(W/NW) | Footage Start DateTime | Footage Stop DateTime | Footage available in days | ATM Lobby Camera (W/ NW) | Back Room Camera (W/ NW) | Out Side Camera (W/ NW) | All Sensors (W/ NW) | Panic Alarm Switch (W/NW) | Hooter (W/NW) | Two-way Communicaton (W/NW) | Smoke detector (w/NW) | Glass Break Sensor (W/NW) | Backroom Door Key pad (W/NW) | ATM Removal Sensor (W/NW) | Vibration Sensor(W/NW) | Hood Sensor | Chest door open sensor(W/NW) | ATM Thermal Sensor(W/NW) | PIR Sensor(Pet Immune)(W/NW) | Speaker Mic Removal Sensor(W/NW) | AC removal (W/NW) | Lobby temperature sensor | EM Lock(W/NW) | Ageing | Site Live Date | 120 Days footage not available Remarks | Vendor | Bank
1 | EN802159 |  | Telangana | Hyedarabad | Gokul Enclave | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-07-04 | _ | CAPITALSOFTS | IDFC
2 | EN801762 |  | Karnataka | Bengaluru | Ashok Nagar | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-08-24 | _ | CAPITALSOFTS | IDFC
3 | EN401632 |  | Maharashtra | Borivali | Borivali | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-08-20 | _ | CAPITALSOFTS | IDFC
4 | EN213114 |  | Haryana | Haryana | FARIDABAD | Yes | Working | Working | 2024-03-01 00:01 | 2024-07-01 08:59 | 122 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-05-22 | _ | CAPITALSOFTS | IDFC
5 | ER201019 |  | Uttar Pradesh | Ghaziabad | Gandhi Nagar Market | Yes | Working | Working | 2024-02-28 11:01 | 2024-07-01 09:02 | 124 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-07-01 | _ | CAPITALSOFTS | IDFC
6 | EN214141 |  | Uttar Pradesh | Ghaziabad | GHAZIABAD | Yes | Working | Working | 2024-02-28 23:00 | 2024-07-01 09:02 | 124 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-06-30 | _ | CAPITALSOFTS | IDFC
7 | ER210019 |  | Uttar Pradesh | HARAYANA | GREEN FIELD FARIDABAD | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-05-26 | _ | CAPITALSOFTS | IDFC
8 | EN801531 |  | Karnataka | Bangalore | Immadihalli | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-09-29 | _ | CAPITALSOFTS | IDFC
9 | EN214161 |  | Uttar Pradesh | Ghaziabad | indirapuram Ghaziabad UP | Yes | Working | Working | 2024-02-29 02:03 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-06-07 | _ | CAPITALSOFTS | IDFC
10 | EN801562 |  | Karnataka | Bangalore | Jayanagar | Yes | Working | Working | 2024-02-29 02:15 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-04-12 | _ | CAPITALSOFTS | IDFC
11 | EN801782 |  | Karnataka | Bangalore | Kammanahalli | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-08-01 | _ | CAPITALSOFTS | IDFC
12 | EN401413 |  | Maharashtra | Mumbai | Kandivali | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 08:59 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-08-08 | _ | CAPITALSOFTS | IDFC
13 | EN801911 |  | Karnataka | Bengaluru | Kengeri | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-09-13 | _ | CAPITALSOFTS | IDFC
14 | EN413563 |  | Maharashtra | Pune | Keshav Nagar | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-04-03 | _ | CAPITALSOFTS | IDFC
15 | EN801993 |  | Karnataka | Bangalore | Kogilu Main road | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:13 | 121 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-08-28 | _ | CAPITALSOFTS | IDFC
16 | EN801251 |  | Tamil Nadu | Chennai | Kolathur | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-09-29 | _ | CAPITALSOFTS | IDFC
17 | EN801252 |  | Tamil Nadu | CHENNAI | MADURAVOYAL | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-12-15 | _ | CAPITALSOFTS | IDFC
18 | ER805718 |  | Karnataka | Mysore | Mandi Mohalla Mysore | Yes | Working | Working | 2024-02-29 02:19 | 2024-07-01 09:00 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-03-31 | _ | CAPITALSOFTS | IDFC
19 | EN801951 |  | Karnataka | Bangalore | Mission Road | Yes | Working | Working | 2024-02-28 11:01 | 2024-07-01 09:02 | 124 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-07-21 | _ | CAPITALSOFTS | IDFC
20 | EN433911 |  | Maharashtra | Thane | Mubarak complex | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-05-19 | _ | CAPITALSOFTS | IDFC
21 | EN801333 |  | Tamil Nadu | Chennai | Mugalivakkam | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 08:26 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-09-15 | _ | CAPITALSOFTS | IDFC
22 | EN802158 |  | Telangana | Hyderabad | Narsingi | Yes | Working | Working | 2024-02-28 11:01 | 2024-07-01 09:02 | 124 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-11-29 | _ | CAPITALSOFTS | IDFC
23 | EN801334 |  | Tamil Nadu | Chennai | Nerkundram | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-02-04 | _ | CAPITALSOFTS | IDFC
24 | ER201541 |  | Uttar Pradesh | Noida | Noida UP | Yes | Working | Working | 2024-02-28 10:37 | 2024-07-01 08:17 | 124 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-06-06 | _ | CAPITALSOFTS | IDFC
25 | EN401531 |  | Maharashtra | Mahim | Ram Mahal | Yes | Working | Working | 2024-02-28 04:02 | 2024-07-01 09:19 | 121 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-06-26 | _ | CAPITALSOFTS | IDFC
26 | EN202241 |  | Delhi | DELHI | Sadar Bazar | Yes | Working | Working | 2024-03-06 00:01 | 2024-07-01 09:01 | 117 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-06-26 | _ | CAPITALSOFTS | IDFC
27 | EN802251 |  | Telangana | Hyderabad | Saheb Nagar | Yes | Working | Working | 2024-06-24 08:08 | 2024-07-01 08:14 | 7 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-05-24 | _ | CAPITALSOFTS | IDFC
28 | EN210031 |  | Haryana | Gurgoan | SEC 4-5 CHOWK | Yes | Working | Working | 2024-02-28 17:41 | 2024-07-01 09:01 | 124 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-06-08 | _ | CAPITALSOFTS | IDFC
29 | EN201055 |  | Delhi | Delhi / NCR | Shahzada Bagh | Yes | Working | Working | 2024-02-28 13:20 | 2024-07-01 08:59 | 124 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-05-22 | _ | CAPITALSOFTS | IDFC
30 | EN802193 |  | Telangana | Hyderabad | Shaikpet | Yes | Working | Working | 2024-02-29 18:15 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Router and DVR both have been replaced on 03rd Feb-24 due to it got faulty | 2023-04-03 | _ | CAPITALSOFTS | IDFC
31 | EN802224 |  | Telangana | Hyderabad | Sri Nagar Colony | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-01-06 | _ | CAPITALSOFTS | IDFC
32 | EN201392 |  | New Delh | Delhi / NCR | Subhash Nagar | Yes | Working | Working | 2024-02-29 06:22 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-05-30 | _ | CAPITALSOFTS | IDFC
33 | EN801673 |  | Karnataka | Bangalore | Sultanpalya | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:00 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-10-10 | _ | CAPITALSOFTS | IDFC
34 | EN801281 |  | Tamil Nadu | Chennai | Teynampet | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 08:59 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-09-16 | _ | CAPITALSOFTS | IDFC
35 | EN801351 |  | Tamil Nadu | Chennai | Valasaravakkam | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-09-27 | _ | CAPITALSOFTS | IDFC
36 | EN801764 |  | Karnataka | Bangalore | Vasanthanagar | Yes | Working | Working | 2024-02-29 11:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-07-22 | _ | CAPITALSOFTS | IDFC
37 | EN401372 |  | Maharashtra | Andheri | Village Ambivli | Yes | Working | Working | 2024-02-29 11:02 | 2024-07-01 08:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2024-01-23 | _ | CAPITALSOFTS | IDFC

## KOTAk
Sr No | ATM ID | ATM ID 2 | State | City | Loc. Name | Main Panel functional (Y/N) | DVR (W / NW) | Hard Disk status(W/NW) | Footage Start DateTime | Footage Stop DateTime | Footage available in days | ATM Lobby Camera (W/ NW) | Back Room Camera (W/ NW) | Out Side Camera (W/ NW) | All Sensors (W/ NW) | Panic Alarm Switch (W/NW) | Hooter (W/NW) | Two-way Communicaton (W/NW) | Smoke detector (w/NW) | Glass Break Sensor (W/NW) | Backroom Door Key pad (W/NW) | ATM Removal Sensor (W/NW) | Vibration Sensor(W/NW) | Hood Sensor | Chest door open sensor(W/NW) | ATM Thermal Sensor(W/NW) | PIR Sensor(Pet Immune)(W/NW) | Speaker Mic Removal Sensor(W/NW) | AC removal (W/NW) | Lobby temperature sensor | EM Lock(W/NW) | Ageing | Site Live Date | 120 Days footage not available Remarks | Vendor | Bank
1 | HYON8094 |  | Telangana | Hyderabad | Aghapura | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-03-28 | _ | CAPITALSOFTS | KOTAK
2 | HYON8096 |  | Telangana | Hyderabad | Ambuja Complex | Yes | Working | Working | 2024-03-23 21:22 | 2024-07-01 08:59 | 100 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-03-30 | _ | CAPITALSOFTS | KOTAK
3 | HYON8135 |  | Telangana | Hyderabad | Ameerpur | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-01-02 | _ | CAPITALSOFTS | KOTAK
4 | MUON8109 |  | Maharashtra | Malad | Appapadda | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 08:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-03-29 | _ | CAPITALSOFTS | KOTAK
5 | BLON8150 |  | Karnataka | Bangalore | Ashok Nagar | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 08:59 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Recording is getting increased from last 21 days post troubleshooting | 2022-12-31 | _ | CAPITALSOFTS | KOTAK
6 | HYON8093 |  | Telangana | Hyderabad | Asif Nagar | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:00 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-03-30 | _ | CAPITALSOFTS | KOTAK
7 | BLON8149 |  | Karnataka | Banglore | Ayodhyanagar | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-12-25 | _ | CAPITALSOFTS | KOTAK
8 | HYON8089 |  | Telangana | Hyderabad | Banjara Hill | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-03-09 | _ | CAPITALSOFTS | KOTAK
9 | BLOP8236 |  | Karnataka | Bengaluru | Bapujingar | Yes | Working | Working | 2024-02-29 14:02 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | DVR replaced on 05th Feb-24 due to firmware issue | 2023-09-26 | _ | CAPITALSOFTS | KOTAK
10 | HYON8156 |  | Telangana | Hydrabad | Charminar | Yes | Working | Working | 2024-03-03 | 2024-07-01 08:00 | 120 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-04-08 | _ | CAPITALSOFTS | KOTAK
11 | CHON8189 |  | Tamil Nadu | Chennai | Choolaimedu | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-02-03 | _ | CAPITALSOFTS | KOTAK
12 | HYON8133 |  | Telangana | Hyderabad | Dhoolpet | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-12-31 | _ | CAPITALSOFTS | KOTAK
13 | KM00798 |  | Telangana | Hyderabad | Doodh Bowli | Yes | Working | Working | 2024-03-05 20:43 | 2024-07-01 09:01 | 118 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2024-06-04 | _ | CAPITALSOFTS | KOTAK
14 | CHON8186 |  | Tamil Nadu | Chennai | Ekkatuthangal | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-02-06 | _ | CAPITALSOFTS | KOTAK
15 | BLOP8240 |  | Karnataka | Bangalore | Gangondanahalli | Yes | Working | Working | 2024-02-29 11:58 | 2024-07-01 08:04 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-09-29 | _ | CAPITALSOFTS | KOTAK
16 | MUOP8228 |  | Maharashtra | Bhiwandi | Gauri pada | Yes | Working | Working | 2024-03-03 | 2024-07-01 08:00 | 120 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-09-06 | _ | CAPITALSOFTS | KOTAK
17 | BLOP8241 |  | Karnataka | Bangalore | Jmj Hospital Arabic College | Yes | Working | Working | 2024-03-05 09:58 | 2024-07-01 08:04 | 118 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | DVR replaced on 03rd Feb-24 due to firmware issue | 2023-10-04 | _ | CAPITALSOFTS | KOTAK
18 | DLOP8251 |  | Delhi | Delhi | Kamala Nagar | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-10-12 | _ | CAPITALSOFTS | KOTAK
19 | BLOP8252 |  | Karnataka | Bangalore | Kammanahalli | Yes | Working | Working | 2024-02-29 11:54 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-10-27 | _ | CAPITALSOFTS | KOTAK
20 | CHON8188 |  | Tamil Nadu | Chennai | Kolathur | Yes | Working | Working | 2024-02-23 12:01 | 2024-07-01 09:13 | 121 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-01-09 | _ | CAPITALSOFTS | KOTAK
21 | BLON8143 |  | Karnataka | Bangalore | Kothanur | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-01-02 | _ | CAPITALSOFTS | KOTAK
22 | BLON8147 |  | Karnataka | Bangalore | Laggere | Yes | Working | Working | 2024-03-08 15:52 | 2024-07-01 09:00 | 115 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Some changes has been done at DVR end it day will increase | 2023-01-03 | _ | CAPITALSOFTS | KOTAK
23 | CHON8187 |  | Tamil Nadu | Chennai | Maduravoyal | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 08:59 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-02-06 | _ | CAPITALSOFTS | KOTAK
24 | KM00789 |  | Telangana | Mailardevpally | Mailardevpally | Yes | Working | Working | 2024-05-29 20:31 | 2024-07-01 09:00 | 33 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | New Installation (29-05-2024) | 2024-05-29 | _ | CAPITALSOFTS | KOTAK
25 | BLON8255 |  | Karnataka | Bangalore | Manorayanaplaya | Yes | Working | Working | 2024-03-09 18:47 | 2024-07-01 09:00 | 114 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2024-03-11 | _ | CAPITALSOFTS | KOTAK
26 | BLON8140 |  | Karnataka | Bangalore | Maruthi Nagar | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 08:59 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-12-31 | _ | CAPITALSOFTS | KOTAK
27 | HYON8132 |  | Telangana | Hyderabad | Mishri Gunj | Yes | Working | Working | 2024-01-24 12:01 | 2024-07-01 09:19 | 122 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-04-13 | _ | CAPITALSOFTS | KOTAK
28 | HYON8136 |  | Telangana | Hydrabad | Mothi Nagar | Yes | Working | Working | 2024-05-16 17:15 | 2024-07-01 09:02 | 46 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | DVR HDD replaced on 16/05/2024 | 2022-12-28 | _ | CAPITALSOFTS | KOTAK
29 | PUON8112 |  | Maharashtra | Pune | Mundwa | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 08:59 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-03-24 | _ | CAPITALSOFTS | KOTAK
30 | MUON8130 |  | Maharashtra | Kalyan | Murbad Road | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-12-27 | _ | CAPITALSOFTS | KOTAK
31 | KM00804 |  | Telangana | Hyderabad | Mustafa Nagar | Yes | Working | Working | 2024-06-13 19:53 | 2024-07-01 09:02 | 18 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | New installation (12/06/2024) | 2024-06-12 | _ | CAPITALSOFTS | KOTAK
32 | MUON8107 |  | Maharashtra | Thane | Nalasopara | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-03-27 | _ | CAPITALSOFTS | KOTAK
33 | DLOP8256 |  | Delhi | New Delhi | Pandav Nagar | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-10-31 | _ | CAPITALSOFTS | KOTAK
34 | BLON8141 |  | Karnataka | Bangalore | PuttenaHalli | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-12-27 | _ | CAPITALSOFTS | KOTAK
35 | HYON8139 |  | Telangana | Hyderabad | S R Nagar | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 08:12 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-04-05 | _ | CAPITALSOFTS | KOTAK
36 | MUON8117 |  | Maharashtra | Pune | Sahakar nagar | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-03-23 | _ | CAPITALSOFTS | KOTAK
37 | MUON8110 |  | Maharashtra | Thane | Samel pada | Yes | Working | Working | 2024-03-01 11:58 | 2024-07-01 09:02 | 122 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-03-26 | _ | CAPITALSOFTS | KOTAK
38 | HYON8076 |  | Telangana | Hyderabad | Shalibanda | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-09-03 | _ | CAPITALSOFTS | KOTAK
39 | MUON8164 |  | Maharashtra | Ulhasnagar | Ulhasnagar | Yes | Working | Working | 2024-02-18 12:01 | 2024-07-01 09:00 | 134 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-01-30 | _ | CAPITALSOFTS | KOTAK
40 | CHON8191 |  | Tamil Nadu | Chennai | Velachery | Yes | Working | Working | 2024-02-24 12:01 | 2024-07-01 09:02 | 128 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-01-31 | _ | CAPITALSOFTS | KOTAK
41 | MUON8123 |  | Maharashtra | Virar | Virar | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:02 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2022-12-24 | _ | CAPITALSOFTS | KOTAK
42 | HYON8137 |  | Telangana | Hyderabad | Yusufguda | Yes | Working | Working | 2024-02-29 12:01 | 2024-07-01 09:01 | 123 | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working | Working |  | 2023-01-23 | _ | CAPITALSOFTS | KOTAK